## INSTRUCTION
Instructions how to fill in the tables
1. | Fill in only those cells marked yellow.
2. | Table 2.3.1 is not o be filled in because data from tables 2.3.3 and 2.3.4 appear automatically
3. | Table 2.3.2 is not to be filled in because semi-deep costs appear automatically
4. | Table 2.3.3 - enter data as follows:
- price of constructing one transformer station (equipment, material, works)
-cost of design preparation and provision of other documentation is the cost relating to one transformer station
5. | Table 2.3.4 - enter the following data:
- unit price of line is the price of 1km of line
- unit price of works is the cost of works for constructing 1km of line
- cost of design preparation and provision of other documentation is a cost relating to one line
6. | Table 2.3.5 - enter the following data about network proportions:
- total number of 400/110 kV TS and 400/220 kV TS within the network
- total number and length of lines coming from all transformer stations whose number is indicated in the table

## DTS-HN-Price
Table 2.3.1 - Network as per methodology definition
Network element | Costs | Installed power
| (dinar) | (kW)
CONNECTION TO 110 kV NETWORK
TS | 0
Lines | 0
Total | 0 | 300000
CONNECTION TO 220 kV NETWORK
TS | 0
Lines | 0
Total | 0 | 400000
Table 2.3.2 - SEMI-DEEP COSTS FOR FACILITIES CONNECTED TO HV NETWORK
Network voltage level | Coefficient of customer's portion in semi-deep costs | Load coefficient in winter period | Capacity reserve coefficient | Load coincidence factor | SEMI-DEEP COSTS
(dinar/kW)
110 kV | 0.8 | 1.3 | 0.2 | 0.85 | 0
220 kV | 0.8 | 1.3 | 0.2 | 0.9 | 0

## DTS-HN-TS
Table 2.3.3 - SEMI-DEEP COSTS FOR FACILITIES CONNECTED TO HV NETWORK - TRANSFORMER STATIONS
Transformer station | Installed demand | Cost of constructing TS | Design and other docs | Total
| (MVA) | (dinar) | (dinar) | (dinar)
CONNECTION TO 110 kV NETWORK
TS 400/110 kV | 300 |  |  | 0
CONNECTION TO 220 kV NETWORK
TS 400/220 kV | 400 |  |  | 0

## DTS-HV-Line
Table 2.3.4 - SEMI-DEEP COSTS FOR FACILITIES CONNECTED TO HV NETWORK - LINES
| Lines from TS | Line type | Average length of 1 line | No. of lines per TS | Total length of lines | Unit price of |  |  | Design and other docs | TOTAL COSTS
[6 empty] | Line | Works | Total
|  |  | (km) | (pcs) | (km) | (dinar/km) | (dinar/km) | (dinar/km) | (dinar/line) | (dinar)
| CONNECTION TO 110 kV NETWORK |  |  |  |  | CONNECTION TO 220 kV NETWORK
| TS 400/110 kV; 300 MVA | 110kV, Alč 3x240mm2 - met. pole | 0 | 0 | 0 |  |  | 0 |  | 0
(dinar) | CONNECTION TO 220 kV NETWORK |  |  |  |  | CONNECTION TO 220 kV NETWORK
| TS 400/220 kV; 400 MVA | 220kV, Alč 3x490mm2 - met. pole | 0 | 0 | 0 |  |  | 0 |  | 0

## DTS-Existing network
Table 2.3.5 - LINES COMING FROM TRANSFORMER STATION - data for entire network
Transformer station | Total No. of TS within network | Lines coming from transformer stations
|  | Line type | Total number of lines | Total length of lines | Number of lines per TS | Average length of lines
|  |  |  | (km) |  | (km)
TS 400/110 kV; 300 MVA |  | 110 kV |  |  | 0 | 0
TS 400/220 kV; 400 MVA |  | 220 kV |  |  | 0 | 0
NOTE: | Data about lines relate to those TS whose total number is indicated in the table